# Fire penetration permit: fire, smoke and containment

| - Permit number: |  | - Work order number: |  |
| --- | --- | --- | --- |
| - Requested by name: |  | - Phone number: |  |
| - Company: |  | - Vendor OIC name: |  |
| - Start date: |  | - Finish date: |  |
| - Start time: |  | - Finish time: |  |
| - Location: |  |  |  |
| - Work description: |  |  |  |
| - Special conditions: |  |  |  |
| - Security considerations: |  |  |  |
| - Clinical considerations: |  |  |  |

- APPROVAL

| - I understand the conditions of this permit and will abide by all safe work procedures. I certify the works described above will be carried out to the relevant Australian Standards (as applicable) and the requirements of West Moreton. The tests will be completed under my direct supervision and I will certify them as true and correct when complete. | - Officer in charge on site: - Name: - Signature: - Date: |
| --- | --- |
| - I am satisfied that persons impacted have been consulted. I approve the works specified in this permit. A copy of the floor plan has been provided. | - Infrastructure and Assets authorised person: - Name: - Signature: - Date: |

COMPLETION OF WORKS

| - A copy of the listed records are required upon completion of works | - Form 16 Inspection Certificate/Aspect Certificate/QBSA Licensee Aspect Certificate |
| --- | --- |
|  | - Completed Fire Penetration Schedule (refer overleaf) |
|  | - Additional Penetration Installation Record (refer overleaf) |
|  | - Photo of penetration, in colour |
|  | - Updated sketch on supplied floor plan |
| - I hereby certify that work is complete and area is inspected and made safe. All services have been restored. Impacted staff have been notified. | - Officer in charge: - Name: - Signature: - Date: |

| - Permit number: |  | - Date of issue |  | - Work order number |  |
| --- | --- | --- | --- | --- | --- |

- FIRE PENETRATION SCHEDULE

| - Installation reference | - W (Wall) F (Floor) | - Product used | - Fire rating | - Service description |
| --- | --- | --- | --- | --- |
| - Example: L1#4 | - W | - FW100 | - -/120/120 | - 125mm hole – 100mm pVC |

- ADDITIONAL PENETRATION INSTALLATION RECORD

| - Penetration number | - Room number | - Service penetrating | - Fire rating description | - Photo number | - Installer (print name) | - Inspector Signature | - Date |
| --- | --- | --- | --- | --- | --- | --- | --- |

CLOSE OUT OF PERMIT

| - Remarks and faults |  |
| --- | --- |
| - I hereby certify that work is complete and area is inspected and made safe. All services have been restored. Impacted staff have been notified. | - Infrastructure and Assets authorised person: - Name: - Signature: - Date: - The revised floor plan has been provided to the Infrastructure and Assets Engineering Department |